## Public reporting
Site | Royal Victorian Eye & Ear Hospital,32 Gisborne Street, East Melbourne, VIC 3002
Energy | energy GJ) | energy GJ) | energy GJ) | energy GJ) | energy GJ) | energy GJ) | energy GJ) | energy GJ) | energy GJ)
| 2010/2011 | 2011/2012 | 2012/2013 | 2013/2014 | 2014/2015 | 2015/2016 | 2016/2017 | 2017/2018 | 2018/2019
Electricity | 16223 | 16154 | 14684 | 14811 | 15130.8098 | 15625 | 36536 | 37892.1926 | 38432
Natural gas | 25570 | 22679 | 24544 | 18706 | 18080 | 14855 | 13269 | 24479 | 32365
Other energy types (e.g. steam, diesel) | 159 | 158 | 153 | 60 | 5.76 | 1906
Total energy consumption | 41952 | 38991 | 39381 | 33577 | 33216.5698 | 32386 | 49805 | 62371.1926 | 70797
Normalised energy consumption | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
Energy per unit of floor space (GJ/m2) | 1.7246 | 1.6029 | 1.619 | 1.3803 | 1.3655 | 1.3314 | 2.0475 | 2.5641 | 2.9105
Energy per unit of activity (GJ/activity) | 0.17007 | 0.1549 | 0.15723 | 0.13117 | 0.12297 | 0.12979 | 0.24441 | 0.28431 | 0.31923
Relevant notes / contextual information
Building floor are for the period is (m2) | 24325 | 24325 | 24325 | 24325 | 24325 | 24325 | 24325 | 24325 | 24325
Activity is based on occupied beds, outpatient attendances and Emergency presentations | 246672 | 251720 | 250470 | 255977 | 270123 | 249520 | 203779 | 219380 | 221777
Examples of Hospital achievements during this period to assist with reducing the hospital’s environmental impact. | * New steam boilers installed * 24 x Inefficient electrical based oil heaters removed throughout the hospital *Hydraulic separator unit(s) to be installed *Existing ageing chiller system replaced with energy efficient air-cooled model | *Project commenced to repair all inoperable ventilation dampers *Trials have been undertaken to separately condition hospital floors requiring conditioning outside of normal operational hour * Security staff currently switching all un-required lighting off after normal operating hours. | * Consultants engaged to investigate & identify further HVAC system improvement opportunities * Trial installation of improved user-operable window blinds to allow increased natural daylighting to rooms. | Redevelopment commenced October 2013 Diesel usage low due to not being able to run the generator whilst the plant room was in lockdown. | Redevelopment commenced October 2013 Diesel usage low due to not being able to run the generator whilst the plant room was in lockdown. | Redevelopment commenced October 2013 Diesel usage High had not been checked due to not being able to run the generator whilst the plant room is in lockdown. | These figures show the result of moving the half the services to the Old Peter Mac Hospital 2 St Andrews Place East Melbourne. Electricity figure is agrgegated for sites, gas only main site. | These figures show the result of moving the half the services to the Old Peter Mac Hospital 2 St Andrews Place East Melbourne. Electricity, Gas & Water have been aggregated for both sites | These figures show the result of moving the half the services to the Old Peter Mac Hospital 2 St Andrews Place East Melbourne. Electricity, Gas & Water have been aggregated for both sites
Greenhouse gas emissions | energy type (GJ) | energy type (GJ) | energy type (GJ) | energy type (GJ) | energy type (GJ) | energy type (GJ) | energy type (GJ) | energy type (GJ) | energy type (GJ)
Total greenhouse gas emissions (kg CO2e) | 2010/2011 | 2011/2012 | 2012/2013 | 2013/2014 | 2014/2015 | 2015/2015 | 2016/2017 | 2017/2018 | 2018/2019
Scope 1 | 1323624 | 1175171 | 1090574 | 960178.98 | 928046.4 | 762507.15 | 681097.77 | 1256507.07 | 1661295.45
Scope 2 | 3589520 | 3948839 | 3589520 | 3620400.84 | 3698575.1508 | 3819375 | 8930859.84 | 9262367.5591 | 9394318.08
Total greenhouse gas emissions (kg CO2e) | 4913144 | 5124010 | 4680094 | 4580579.82 | 4626621.5508 | 4581882.15 | 9611957.61 | 10518874.6291 | 11055613.53
Normalised greenhouse gas emissions | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
Emissions per unit of floor space (kgCO2e/m2) | 201.9792 | 210.6479 | 192.3985 | 188.3075 | 190.2003 | 188.361 | 395.1473 | 432.4306 | 454.4959
Emissions per unit of activity (kgCO2e/activity) | 19.9177 | 20.356 | 18.6852 | 17.8945 | 17.1278 | 18.3628 | 47.1685 | 47.9482 | 49.8501
Relevant notes / contextual information
Building floor are for the period is (m2) | 24325 | 24325 | 24325 | 24325 | 24325 | 24325 | 24325 | 24325 | 24325
Activity is based on occupied beds, outpatient attendances and Emergency presentations | 246672 | 251720 | 250470 | 255977 | 270123 | 249520 | 203779 | 219380 | 221777
Water Consumption (kL) | Consumption (kL) | Consumption (kL) | Consumption (kL) | Consumption (kL) | Consumption (kL) | Consumption (kL) | Consumption (kL) | Consumption (kL) | Consumption (kL)
| 2010/2011 | 2011/2012 | 2012/2013 | 2013/2014 | 2014/2015 | 2015/2015 | 2016/2017 | 2017/2018 | 2018/2019
Water consumption | 23598 | 22002 | 26655 | 26297 | 41916 | 24276 | 44695 | 39856 | 37121
Total water consumption (kL) | 23598 | 22002 | 26655 | 26297 | 41916 | 24276 | 44695 | 39856 | 37121
Normalised water consumption Year | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
Water per unit of floor space (kL/m2) | 0.97011 | 0.9045 | 1.0958 | 1.0811 | 1.7232 | 0.99799 | 1.8374 | 1.6385 | 1.526
Water per unit of activity (kL/activity) | 0.095665 | 0.087407 | 0.10642 | 0.10273 | 0.15517 | 0.097291 | 0.21933 | 0.18168 | 0.16738
Relevant notes / contextual information
Building floor are for the period is (m2) | 24325 | 24325 | 24325 | 24325 | 24325 | 24325 | 24325 | 24325 | 24325
Activity is based on occupied beds, outpatient attendances and Emergency presentations | 246672 | 251720 | 250470 | 255977 | 270123 | 249520 | 203779 | 219380 | 221777
Example of Hospitals achievements during this period to assist with reducing the hospital’s environmental impact. | *Additional Water Audit undertaken expanding upon the previous years report to help identify key opportunities to reduce overall consumption. * Installed water efficient showers, with flow-restrictors to selected basins and sinks. * Installed Pressure balancing constant flow control valves in all basins and sink. * Toilet cistern plumbing modified to allow only low-volume sanitary flush option throughout the Howson Wing. *Installing new air-cooled chiller units has removed the requirement for roof-mounted mist sprayer devices. *Completed project to re-route discharge water from sterilizer units to roof storage tanks - for re-use in sanitary flushing (in Audrey Bowen & Peter Howson Wings). |  | Increase in water usage was due to a water leak from SPS steriliser pit into PHW lift well area | Increase in water usage due to a number of water leaks in ageing pipeworks | Increase in water usage due to a number of water leak
Waste Generation | generation by (kilograms) | generation by (kilograms) | generation by (kilograms) | generation by (kilograms) | generation by (kilograms) | generation by (kilograms) | generation by (kilograms) | generation by (kilograms) | generation by (kilograms)
Total waste generation by type (kilograms) | 2010/2011 | 2011/2012 | 2012/2013 | 2013/2014 | 2014/2015 | 2015/2015 | 2016/2017 | 2017/2018 | 2018/2019
Clinical waste | 31610 | 30516 | 31165 | 33315 | 35957 | 34265 | 35718 | 39221 | 39851
General waste | 219431 | 238200 | 203351 | 241200 | 221370 | 210110 | 275056 | 250440 | 253500
Recycled waste | 178589 | 125900 | 177093 | 179865 | 109298 | 34028 | 42200 | 21540 | 37850
Total waste generated (kilograms) | 429630 | 394616 | 411609 | 454380 | 366625 | 330662 | 352974 | 311201 | 331201
Normalised waste generation | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
Waste per activity (kg/activity) | 1.7417 | 1.5677 | 1.6433 | 1.7751 | 1.3573 | 1.3252 | 1.7321 | 1.4185 | 1.4934
Waste recycling
Waste recycling rate (percentage) | 41.57% | 31.9% | 43.02% | 39.58% | 29.81% | 10.29% | 11.96% | 6.922% | 11.43%
Relevant notes / contextual information
Activity is based on occupied beds, outpatient attendances and Emergency presentations | 246672 | 251720 | 250470 | 255977 | 270123 | 249520 | 203779 | 219380 | 221777
| *With the aid of the EARTH program commenced the recycling of Theatre medical consumables *Commenced recycling Fluoro lights, batteries and foam | Supplier issues discontinued for a short time the recycling of theatre medical consumables | Recommenced the recycling of theatre medical consumables | Redevelopment commenced October 2013. | Major redevelopment onsite | Major redevelopment onsite | Major redevelopment onsite move to Peter Mac Hospital | Major redevelopment onsite reduction in recycling due to recycler for theatre plastic consumables ceases service | Major redevelopment onsite Recycling improves, assisted by new initiatives and Theatre champions
Source data | Energy data from NPI Annual report for Data Collection |  |  |  |  | EDMS | EDMS | EDMS | EDMS
| Water data from AIMS reporting |  |  |  |  | Waste new HPV provider | Data for electricity only is aggregated for both sites | Data is aggregated for both sites | Data is aggregated for both sites
Waste data weighted from Suppliers invoices and data
EARTH - Environmentally Aided Recycling Theatre Helpers