## Public reporting
Site | Royal Victorian Eye & Ear Hospital,32 Gisborne Street, East Melbourne, VIC 3002
Energy | energy GJ) | energy GJ) | energy GJ) | energy GJ) | energy GJ) | energy GJ) | energy GJ) | energy GJ) | energy GJ) | energy GJ)
| 2010/2011 | 2011/2012 | 2012/2013 | 2013/2014 | 2014/2015 | 2015/2016 | 2016/2017 | 2017/2018 | 2018/2019 | 2019/2020
Electricity | 16223 | 16154 | 14684 | 14811 | 15130.8098 | 15625 | 36536 | 37892.1926 | 38432 | 36618
Natural gas | 25570 | 22679 | 24544 | 18706 | 18080 | 14855 | 13269 | 24479 | 32365 | 35741
Other energy types (e.g. steam, diesel) | 159 | 158 | 153 | 60 | 5.76 | 1906
Total energy consumption | 41952 | 38991 | 39381 | 33577 | 33216.5698 | 32386 | 49805 | 62371.1926 | 70797 | 72359
Normalised energy consumption | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 20
Energy per unit of floor space (GJ/m2) | 1.7246 | 1.6029 | 1.619 | 1.3803 | 1.3655 | 1.3314 | 2.0475 | 2.5641 | 2.9105 | 2.9747
Energy per unit of activity (GJ/activity) | 0.17007 | 0.1549 | 0.15723 | 0.13117 | 0.12297 | 0.12979 | 0.24441 | 0.28431 | 0.31923 | 0.42564
Relevant notes / contextual information
Building floor are for the period is (m2) | 24325 | 24325 | 24325 | 24325 | 24325 | 24325 | 24325 | 24325 | 24325 | 24325
Activity is based on occupied beds, outpatient attendances and Emergency presentations | 246672 | 251720 | 250470 | 255977 | 270123 | 249520 | 203779 | 219380 | 221777 | 170000
Examples of Hospital achievements during this period to assist with reducing the hospital’s environmental impact. | * New steam boilers installed * 24 x Inefficient electrical based oil heaters removed throughout the hospital *Hydraulic separator unit(s) to be installed *Existing ageing chiller system replaced with energy efficient air-cooled model | *Project commenced to repair all inoperable ventilation dampers *Trials have been undertaken to separately condition hospital floors requiring conditioning outside of normal operational hour * Security staff currently switching all un-required lighting off after normal operating hours. | * Consultants engaged to investigate & identify further HVAC system improvement opportunities * Trial installation of improved user-operable window blinds to allow increased natural daylighting to rooms. | Redevelopment commenced October 2013 Diesel usage low due to not being able to run the generator whilst the plant room was in lockdown. | Redevelopment commenced October 2013 Diesel usage low due to not being able to run the generator whilst the plant room was in lockdown. | Redevelopment commenced October 2013 Diesel usage High had not been checked due to not being able to run the generator whilst the plant room is in lockdown. | These figures show the result of moving the half the services to the Old Peter Mac Hospital 2 St Andrews Place East Melbourne. Electricity figure is agrgegated for sites, gas only main site. | These figures show the result of moving the half the services to the Old Peter Mac Hospital 2 St Andrews Place East Melbourne. Electricity, Gas & Water have been aggregated for both sites | These figures represent Redevelopment at the Main Hospital and half the services that were relocated to the Old Peter Mac Hospital 2 St Andrews Place East Melbourne. Electricity, Gas & Water have been aggregated for both sites | These figures represent Redevelopment at the Main Hospital and half the services that were relocated to the Old Peter Mac Hospital 2 St Andrews Place East Melbourne. Electricity, Gas & Water have been aggregated for both sites
Greenhouse gas emissions | energy type (GJ) | energy type (GJ) | energy type (GJ) | energy type (GJ) | energy type (GJ) | energy type (GJ) | energy type (GJ) | energy type (GJ) | energy type (GJ) | energy type (GJ)
Total greenhouse gas emissions (kg CO2e) | 2010/2011 | 2011/2012 | 2012/2013 | 2013/2014 | 2014/2015 | 2015/2015 | 2016/2017 | 2017/2018 | 2018/2019 | 2019/2020
Scope 1 | 1323624 | 1175171 | 1090574 | 960178.98 | 928046.4 | 762507.15 | 681097.77 | 1256507.07 | 1661295.45 | 1834585.53
Scope 2 | 3589520 | 3948839 | 3589520 | 3620400.84 | 3698575.1508 | 3819375 | 8930859.84 | 9262367.5591 | 9394318.08 | 8950903.92
Total greenhouse gas emissions (kg CO2e) | 4913144 | 5124010 | 4680094 | 4580579.82 | 4626621.5508 | 4581882.15 | 9611957.61 | 10518874.6291 | 11055613.53 | 10785489.45
Normalised greenhouse gas emissions | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020
Emissions per unit of floor space (kgCO2e/m2) | 201.9792 | 210.6479 | 192.3985 | 188.3075 | 190.2003 | 188.361 | 395.1473 | 432.4306 | 454.4959 | 443.3911
Emissions per unit of activity (kgCO2e/activity) | 19.9177 | 20.356 | 18.6852 | 17.8945 | 17.1278 | 18.3628 | 47.1685 | 47.9482 | 49.8501 | 63.4441
Relevant notes / contextual information
Building floor are for the period is (m2) | 24325 | 24325 | 24325 | 24325 | 24325 | 24325 | 24325 | 24325 | 24325 | 24325
Activity is based on occupied beds, outpatient attendances and Emergency presentations | 246672 | 251720 | 250470 | 255977 | 270123 | 249520 | 203779 | 219380 | 221777 | 170000
Water Consumption (kL) | Consumption (kL) | Consumption (kL) | Consumption (kL) | Consumption (kL) | Consumption (kL) | Consumption (kL) | Consumption (kL) | Consumption (kL) | Consumption (kL) | Consumption (kL)
| 2010/2011 | 2011/2012 | 2012/2013 | 2013/2014 | 2014/2015 | 2015/2015 | 2016/2017 | 2017/2018 | 2018/2019 | 2019/2020
Water consumption | 23598 | 22002 | 26655 | 26297 | 41916 | 24276 | 44695 | 39856 | 37121 | 34387
Total water consumption (kL) | 23598 | 22002 | 26655 | 26297 | 41916 | 24276 | 44695 | 39856 | 37121 | 34387
Normalised water consumption Year | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020
Water per unit of floor space (kL/m2) | 0.97011 | 0.9045 | 1.0958 | 1.0811 | 1.7232 | 0.99799 | 1.8374 | 1.6385 | 1.526 | 1.4136
Water per unit of activity (kL/activity) | 0.095665 | 0.087407 | 0.10642 | 0.10273 | 0.15517 | 0.097291 | 0.21933 | 0.18168 | 0.16738 | 0.20228
Relevant notes / contextual information
Building floor are for the period is (m2) | 24325 | 24325 | 24325 | 24325 | 24325 | 24325 | 24325 | 24325 | 24325 | 24325
Activity is based on occupied beds, outpatient attendances and Emergency presentations | 246672 | 251720 | 250470 | 255977 | 270123 | 249520 | 203779 | 219380 | 221777 | 170000
Example of Hospitals achievements during this period to assist with reducing the hospital’s environmental impact. | 2010/2011: *Additional Water Audit undertaken expanding upon the previous years report to help identify key opportunities to reduce overall consumption. * Installed water efficient showers, with flow-restrictors to selected basins and sinks. * Installed Pressure balancing constant flow control valves in all basins and sink. * Toilet cistern plumbing modified to allow only low-volume sanitary flush option throughout the Howson Wing. *Installing new air-cooled chiller units has removed the requirement for roof-mounted mist sprayer devices. *Completed project to re-route discharge water from sterilizer units to roof storage tanks - for re-use in sanitary flushing (in Audrey Bowen & Peter Howson Wings).; 2012/2013: Increase in water usage was due to a water leak from SPS steriliser pit into PHW lift well area; 2013/2014: Increase in water usage due to a number of water leaks in ageing pipeworks; 2014/2015: Increase in water usage due to a number of water leak; 2019/2020: State of Emergency declared in Victoria 16 March 2020 - COVID 19
Waste Generation | generation by (kilograms) | generation by (kilograms) | generation by (kilograms) | generation by (kilograms) | generation by (kilograms) | generation by (kilograms) | generation by (kilograms) | generation by (kilograms) | generation by (kilograms) | generation by (kilograms)
Total waste generation by type (kilograms) | 2010/2011 | 2011/2012 | 2012/2013 | 2013/2014 | 2014/2015 | 2015/2015 | 2016/2017 | 2017/2018 | 2018/2019 | 2019/2020
Clinical waste | 31610 | 30516 | 31165 | 33315 | 35957 | 34265 | 35718 | 39221 | 39851 | 45142
General waste | 219431 | 238200 | 203351 | 241200 | 221370 | 210110 | 275056 | 250440 | 253500 | 290431
Recycled waste | 178589 | 125900 | 177093 | 179865 | 109298 | 34028 | 42200 | 21540 | 37850 | 34947
Total waste generated (kilograms) | 429630 | 394616 | 411609 | 454380 | 366625 | 330662 | 352974 | 311201 | 331201
Normalised waste generation | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020
Waste per activity (kg/activity) | 1.7417 | 1.5677 | 1.6433 | 1.7751 | 1.3573 | 1.3252 | 1.7321 | 1.4185 | 1.4934 | 0
Waste recycling
Waste recycling rate (percentage) | 41.57% | 31.9% | 43.02% | 39.58% | 29.81% | 10.29% | 11.96% | 6.922% | 11.43% | 10.6%
Relevant notes / contextual information
Activity is based on occupied beds, outpatient attendances and Emergency presentations | 246672 | 251720 | 250470 | 255977 | 270123 | 249520 | 203779 | 219380 | 221777 | 170000
| *With the aid of the EARTH program commenced the recycling of Theatre medical consumables *Commenced recycling Fluoro lights, batteries and foam | Supplier issues discontinued for a short time the recycling of theatre medical consumables | Recommenced the recycling of theatre medical consumables | Redevelopment commenced October 2013. | Major redevelopment onsite | Major redevelopment onsite | Major redevelopment onsite move to Peter Mac Hospital | Major redevelopment onsite reduction in recycling due to recycler for theatre plastic consumables ceases service | Major redevelopment onsite Recycling improves, assisted by new initiatives and Theatre champions | State of Emergency declared in Victoria 16 March 2020 - COVID 19 Increase in waste due to PPE requirement during COVID19 Data obtained from EDMS, the waste data does not show separation of clinical, general or recycled waste streams
Source data | Energy data from NPI Annual report for Data Collection |  |  |  |  | EDMS | EDMS | EDMS | EDMS | EDMS
| Water data from AIMS reporting |  |  |  |  | Waste new HPV provider | Data for electricity only is aggregated for both sites | Data is aggregated for both sites | Data is aggregated for both sites | Data is aggregated for both sites
Waste data weighted from Suppliers invoices and data
EARTH - Environmentally Aided Recycling Theatre Helpers